## Tabelle1
Setting File for MG EV Optimization
Simulation Options
sim_name | mg_ev | - | name of scenario
sim_solver | cbc | - | solver selection. Options: "cbc", "gplk", "gurobi"
sim_dump | True | - | "True" activates oemof model and result saving
sim_debug | False | - | "True" activates mathematical model saving and extended solver output
sim_step | H | - | time step length ('H'=hourly, other lengths not tested yet!)
sim_eps | 1e-06 | - | minimum variable cost in $/Wh for transformers to incentivize minimum flow
sim_os | go | - | go: global optimum (no operating strategy), rh: rolling horizon strategy
Settings RH Strategy
rh_ph | 48 | [h] | predicted horizon in h
rh_ch | 24 | [h] | overlap horizon in h
Project Data
proj_start | 2005-01-15 |  | Project start date (DD.MM.YYYY)
proj_sim | 10 | [d] | Simulation timeframe in days
proj_ls | 25 | [y] | Project duration in years
proj_wacc | 0.07 | - | unitless weighted average cost of capital for the project
Transformer Settings
ac_dc_eff | 0.95 | - | unitless conversion efficiency of ac-dc bus transformer component
dc_ac_eff | 0.95 | - | unitless conversion efficiency of dc-ac bus transformer component
Demand Data
dem_enable | True | -
dem_filename | dem_data.csv | - | input data file containing timeseries for electricity demand in W
Wind Component Data
wind_enable | False | -
wind_enable_cs | False | -
wind_filename | wind_data.csv | - | name of the normalized wind power profile csv file in ./scenarios to evaluate
wind_sce | 1.355 | [$/W] | specific capital expenses of the component in $/W
wind_sme | 0 | [$/W*y] | specific maintenance expenses of the component in $/(W*year)
wind_soe | 0 | [$/Wh] | specific operational expenses of the component in $/Wh
wind_ls | 20 | [y] | lifespan of the component in years
wind_cdc | 1 | - | annual ratio of component cost decrease
wind_cs | 100000 | [W] | component size (peak) in kW, only valid if sim_cs["wind"]==False
PV Component Data
pv_enable | False | -
pv_enable_cs | False | -
pv_filename | Zatta_CI_1kWp.csv | - | name of the normalized pv power profile csv file in ./scenarios to evaluate
pv_sce | 0.8 | [$/W] | specific capital expenses of the component in $/W
pv_sme | 0 | [$/W*y] | specific maintenance expenses of the component in $/(W*year)
pv_soe | 0 | [$/Wh] | specific operational expenses of the component in $/Wh
pv_ls | 25 | [y] | lifespan of the component in years
pv_cdc | 1 | - | annual ratio of cost decrease
pv_cs | 205000 | [W] | component size (peak) in W, only valid if sim_cs["pv"]==False
Generator Component Data
gen_enable | True | -
gen_enable_cs | True | -
gen_sce | 1.5 | [$/W] | specific capital expenses of the component in $/W (original 1.15)
gen_sme | 0 | [$/W*y] | specific maintenance expenses of the component in $/(W*year)
gen_soe | 0.00065 | [$/Wh] | specific operational expenses of the component in $/Wh (original 0.00036)
gen_ls | 10 | [y] | lifespan of the component in years
gen_cdc | 1 | - | annual ratio of component cost decrease
gen_cs | 85000 | [W] | component size in W, only valid if sim_cs["gen"]==False
ESS Component Data
ess_enable | False | -
ess_enable_cs | False | -
ess_sce | 0.8 | [$/Wh] | specific capital expenses of the component in $/Wh
ess_sme | 0 | [$/Wh*y] | specific maintenance expenses of the component in $/(Wh*year)
ess_soe | 0 | [$/Wh] | specific operational expenses of the component in $/Wh
ess_ls | 10 | [y] | lifespan of the component in years
ess_chg_eff | 0.95 | - | charging efficiency
ess_dis_eff | 0.85 | - | discharge efficiency
ess_chg_crate | 0.5 | [1/h] | maximum charging C-rate in 1/h
ess_dis_crate | 0.5 | [1/h] | maximum discharging C-rate in 1/h
ess_init_soc | 0.7 | - | initial state of charge
ess_sd | 0 | - | self-discharge rate of the component in ???
ess_cdc | 1 | - | annual ratio of component cost decrease
ess_cs | 65000 | [Wh] | component size in Wh, only valid if sim_cs["ess"]==False
BEV Component Data
bev_enable | False | -
bev_enable_cs | False | -
bev_filename | ind_car_data.csv | -
bev_agr | 0 | - | boolean triggering simplified simulation of BEVs as a single set of components when true
bev_num | 10 | - | number of vehicles to be simulated
bev_sce | 0.8 | [$/Wh] | specific capital expenses of the component in $/Wh
bev_sme | 0 | [$/Wh*y] | specific maintenance expenses of the component in $/(Wh*year)
bev_soe | 0 | [$/Wh] | specific operational expenses of the component in $/Wh
bev_ls | 10 | [y] | lifespan of the component in years
bev_init_soc | 0.5 | [%] | initial state of charge
bev_chg_pwr | 3600 | [W] | maximum allowable charge power for each individual BEV
bev_dis_pwr | 3600 | [W] | maximum allowable discharge power for each individual BEV
bev_charge_eff | 0.95 | - | unitless charge efficiency
bev_discharge_eff | 0.95 | - | unitless discharge efficiency
bev_cdc | 1 | - | annual ratio of component cost decrease
bev_cs | 30000 | [Wh] | battery size of vehicles in Wh, only valid if sim_cs["bev"]==False